## Slide 1
MANAGEMENT OF BACTERIAL KIDNEY DISEASE WITH THE “NEW” KIRKEGAARD AND PERRY ANTIBODIES
Roberta Scott, Douglas Munson,
and
Keith Johnson

## Slide 2
BKD LESION

## Slide 3: PRIOR TO 1994
IDFG TOOK A 60 FISH SAMPLE DURING CHINOOK SPAWNING USING DFAT
DID NOT UTILIZE CULLING OR SEGREGATION TO MINIMIZE VERTICAL TRANSMISSION OF BKD
EPIZOOTICS OF BKD IN JUVENILE CHINOOK SALMON

## Slide 4
BKD Fluorescent Antibody Test

## Slide 5: SINCE 1994
IDFG HAS PROVIDED AN INTEGRATED MANAGEMENT PROGRAM TO LIMIT LOSSES TO BKD.
ELISA-BASED CULLING AND SEGREGATION
ALSO INTRAPERITONEAL INJECTIONS OF ADULTS WITH ERYTHROMYCIN

## Slide 6: SINCE 1994
IODOPHOR DISINFECTION OF EGGS
PROPHYLACTIC ERYTHROMYCIN MEDICATED FEED TREATMENTS.
HAS LIMITED BKD EPIZOOTICS TO HIGH BKD SEGREGATION GROUPS.

## Slide 7
Idaho Department of Fish and Game
Fish Hatcheries

## Slide 11
Coating Antibody
BKD Antigen
Conjugated
Antibody
Color Reaction

## Slide 12: IN 1996
THE SUPPLIES OF BATCH 1 ANTIBODIES PRODUCED BY KPL WERE DEPLETED
KPL PRODUCED THE BATCH 2 ANTIBODIES.
THIS SECOND GROUP OF REAGENTS PRODUCED ELISA OPTICAL DENSITIES THAT WERE INCONSISTENT WITH BATCH 1 ANTIBODIES.

## Slide 13: KPL ANTIBODY TIMELINE
1980’S TO 1996: KPL BATCH 1
1996 TO 2003: KPL BATCH 2
2003: NEW KPL

## Slide 14
KPL Antibodies: Good Vs. Bad

## Slide 16
PNFHPC LABS

## Slide 18: IDFG EXPECTS A CULLING RATE OF 10% STATEWIDE 2003
SOUTH FORK TRAP: 5.92%
POWELL TRAP: 12.07%
CLEARWATER: 19.84%
SAWTOOTH:
3.00%
DWORSHAK NFH: 7.60%
RAPID RIVER: 13.40%
PAHSIMEROI: 0.90%
STATEWIDE MEAN: 10.60%

## Slide 19: CONCLUSIONS:
NEW (2003) KPL COATING AND CONJUGATED ANTIBODIES ARE EQUIVALENT TO THE FIRST REAGENTS.
IDFG HAS UTILIZED THESE REAGENTS DURING 2003 CHINOOK SPAWNING.

## Slide 20
Thanks and Appreciation to:
Ron Pascho,WFRC
Dorothy Chase, WFRC
Eagle Laboratory Staff
Kimberly True, USFWS
Mark Peterson, NMFS
Mark Strom, NMFS
Leslie Lindsay, ODFW